## Turb Compliance
Division of Drinking Water
Monthly Report for Water Treatment Technique Compliance - Turbidity
Systems <10,000 not required to meet these standards until January 2005
Conventional
| Month: |  |  |  |  | Utility Name: | Park City |  |  | Direct Filtration
| Year: |  |  |  |  | Treatment Plant: | Park Meadows Well |  |  | Membrane Filtration
| System Number: | 22011 |  |  |  | Filtration Technology: | Other (attach description) |  |  | Slow Sand Filtration
[6 empty] | Prepared by: | Kenneth Mitchell |  |  | Bag Filtration
Diatomaceous Earth Filtration
A. | Combined Filter Effluent (CFE) Turbidity | [8 empty] | Other (attach description)
| Record the date and turbidity value for any measurements exceeding the plant limit. Indicate whether the event | [8 empty] | None
being reported also exceeds 1 NTU. Attach details of public notice for each event. If none, enter "none."
Max NTU
|  | Type of Event (Turbidity |  |  | Pertinent | Date |  | Date of
| Date | exceeds 1 NTU or plant |  | Duration | Turbidity | Reported |  | Public
|  | limit only) |  | (Hours) | Value | to State |  | Notice
none
none
none
none
B. | Individual Filter (IF) Turbidity
List the turbidity values in the following catagories for any individual filter exdeedances
|  | a* |  | b* Systems >10,000 only |  | c* |  | d*
|  | >1.0 NTU anytime |  | >0.5 NTU at 4 hrs |  | >1.0 NTU |  | >2.0 NTU
| Date | based upon two |  | based upon two |  | on same |  | on same
| of | consecutive |  | consecutive |  | filter for 3 |  | filter for 2
| Exceedance | 15 min reads |  | 15 min reads |  | months in a row |  | months in a row
|  | Filter # | NTU | Filter # | NTU | Filter # | NTU | Filter # | NTU
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
*a. Action item - filter profile must be completed within 7 days of exceedance.
|  |  | Date of profile: | n/a
*b. Action item - filter profile must be completed within 7 days of exceedance.
|  |  | Date of profile: | n/a
*c. Action item - filter self assessment must be completed within 14 days of exceedance.
|  |  | Date of self assesment: | n/a
*d. Action item - Systems >10,000 -third party comprehensive preformance evaulation arranged for within 30 days
and must be completed within 90 days of exceedance
Systems <10,000 -third party comprehensive preformance evaulation arranged for within 60 days
and must be completed within 120 days of exceedance
C. | Turbidimeter Calibration Data
Please record the date of the following turbidimeter calibrations.
All turbidimeters on CFE and IF must be checked for accuracy or calibrated monthly.
[6 empty] | Combined Filter Effluent (CFE) Turbidimeter Last Checked for Accuracy or Calibrated: | 2016-03-24
Individual Filter (IF) Turbidimeter Last Checked for Accuracy or Calibrated:
Notify DEQ within 24 hours of any turbidity exceedances (801-536-4200)

## Turb Data
Monthly Report for Water Treatment Technique Compliance - Turbidity
| Month: | [5 empty] | Utility Name: | Park City |  |  | Conventional
| Year: | [5 empty] | Treatment Plant: | Park Meadows Well |  |  | Direct Filtration
| System Number: | 22011 |  |  |  |  | Filtration Technology: | Other (attach description) |  |  | Membrane Filtration
[7 empty] | Prepared by: | Kenneth Mitchell |  |  | Slow Sand Filtration
Bag Filtration
|  | 4 Hour Combined Filter Turbidity Readings | [8 empty] | Diatomaceous Earth Filtration
| Hours | 1st - 4 hr | 2nd - 4 hr | 3rd - 4 hr | 4th - 4 hr | 5th - 4 hr | 6th - 4 hr | Daily | Number | Number | Other (attach description)
Date | of | Max NTU | Max NTU | Max NTU | Max NTU | Max NTU | Max NTU | Max | Readings | Turbidity | None
| Operation | Reading | Reading | Reading | Reading | Reading | Reading | (NTU) | <.3 NTU | Readings
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | Total Number of Turbidity Measurements Taken: | 0
[8 empty] | Total Number of Turbidity Less Than 0.3 NTU | 0
[8 empty] | Percent of Turbidity Measurements Less Than 0.3 NTU: | #DIV/0!
[9 empty] | Individual filter turbidity data (15 minute) compiled and checked for compliance (Y/N): | Y

## WQP Report
Monthly Report for Water Compliance - Water Quality Parameters
| Month: |  |  | Utility Name: | Park City |  | Conventional
| Year: |  |  | Treatment Plant: | Park Meadows Well |  | Direct Filtration
| System Number: | 22011 |  | Filtration Technology: | Other (attach description) |  | Membrane Filtration
|  |  |  | Prepared by: | Kenneth Mitchell |  | Slow Sand Filtration
Bag Filtration
Diatomaceous Earth Filtration
Other (attach description)
|  | Raw Water |  |  | Finished Water Data |  | None
Date | Temperature | Max Turb |  | Temperature | Max Turb
| (°C) | (NTU) | pH | (°C) | (NTU) | pH
AVG
MAX | 0 | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0

## DISINFECTION REPORT
Monthly Report for Water Treatment Technique Compliance - Disinfection
| Month: |  |  |  | Utility Name: | Park City |  |  | Conventional
| Year: |  |  |  | Treatment Plant: | Park Meadows Well |  |  | Direct Filtration
| System Number: | 22011 |  |  | Filtration Technology: | Other (attach description) |  |  | Membrane Filtration
[5 empty] | Prepared by: | Kenneth Mitchell |  |  | Slow Sand Filtration
Bag Filtration
D. | Record the daily minimum disinfectant residual at the point-of-entry (POE) to the distribution system | [7 empty] | Diatomaceous Earth Filtration
| and the minimum daily plant total inactivation ratio (CTprovided/CTrequired). | [7 empty] | Other (attach description)
None
|  | Min POE |  |  |  | Min POE
|  | Cl2 Res | Total Inactivation |  |  | Cl2 Res | Total Inactivation
| Date | (mg/L) | Ratio |  | Date | (mg/L) | Ratio
E. | Record the date of occurrence, duration and date reported for each time the disinfectant residual
was less than 0.2 mg/L or the total Inactivation Ratio was less than 1. Attach details of public
notice for each event. If none, enter "none".
Pertinent Residual or
| Date |  | Duration | Total Inactivation |  | Date Reported | Date of Public
|  |  | (Hours) | Ratio Value |  | to State | Notice
None
F. | Distribution System Disinfectant Residual Criteria
[6 empty] | Number of sites where disinfectant residual measurements were made | A = | 15
[6 empty] | Number of sites where HPC samples were taken instead of residual measurements | B = | 0
[6 empty] | Number of sites where no residual was detected and no HPC sample was taken | C = | 0
[6 empty] | Number of sites where no residual was detected and HPC exceeded 500 | D = | 0
[6 empty] | Number of sites where no residual measurement was made and HPC exceeded 500 | E = | 0
| Violation percentage for this month* |  |  | 0 | Violation percentage for last month* |  |  | 0
Violation percentage = 100x(C+D+E)/(A+B)

## SEQUENCE 1
FIRST DISINFECTION SEQUENCE | [11 empty] | 65.3651 | -25.1799 | 5.3729 | 0.13583 | -21.0607 | 8.7299 | -1.1983 | 0.053508
| Month: |  |  |  | Utility Name: | Park City
| Year: |  |  |  | Treatment Plant: | Park Maeadows Well
| System Number: | 22011 |  |  | Prepared by: | Kenneth Mitchell | [5 empty] | -204.2399 | 169.0885 | -35.8183 | 2.3157 | 40.0957 | -16.7906 | 2.3238 | -0.10631
[12 empty] | 162.8669 | -110.8682 | 21.5511 | -1.2712 | -22.277 | 9.3493 | -1.2972 | 0.059385
[12 empty] | -35.0942 | 21.8017 | -4.0306 | 0.2291 | 3.7308 | -1.5712 | 0.21879 | -0.010046
[12 empty] | -624.0289 | 260.5181 | -36.1906 | 1.6036 | 0.94149 | -0.38955 | 0.053357 | -0.0023787
|  | Log Inactivation Credit assigned by the Division of Drinking Water for this treatment facility: | [5 empty] | N/A |  |  |  | 1141.9863 | -489.7483 | 69.4313 | -3.258 | -1.7929 | 0.74862 | -0.10331 | 0.0047132
[12 empty] | -599.3181 | 259.4069 | -37.1033 | 1.7463 | 1.0001 | -0.4181 | 0.057795 | -0.002637
| Inactivation Ratio Calculation - All data for the same point in time, and at the end of the sequence. | [10 empty] | 97.7448 | -42.7328 | 6.1666 | -0.29213 | -0.16736 | 0.070161 | -0.0097272 | 0.00044499
|  | Diameter = | 12 | Length = | 2848 | [6 empty] | 193.2259 | -80.3113 | 11.0611 | -0.49461 | -0.014746 | 0.0060931 | -0.00083331 | 3.7096e-05
|  | Peak Daily | Peak Flow | Peak Flow Cl2 |  |  |  |  | Inactivation |  |  |  | -364.4075 | 153.4256 | -21.3486 | 0.98198 | 0.027982 | -0.011662 | 0.0016063 | -7.3152e-05
| Date | Flow (PM & Divide) | Detention Time | Residual |  | Temperature | CT Provided | CT Required | Ratio |  |  |  | 199.4472 | -84.3243 | 11.7853 | -0.54307 | -0.015597 | 0.0065043 | -0.00089704 | 4.0845e-05
|  | (gpm) | (Minutes) | (mg/l) | pH | (Deg C) | (min.*mg/L) | (min.*mg/L) | Provided | Cl2 | pH | Temp | -33.2159 | 14.1164 | -1.9828 | 0.09174 | 0.0026014 | -0.0010874 | 0.00015037 | -6.8638e-06
| 1 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 2 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 3 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 4 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 5 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 6 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 7 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 8 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 9 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 10 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 11 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 12 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 13 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 14 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 15 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 16 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 17 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 18 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 19 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 20 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 21 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 22 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 23 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 24 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 25 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 26 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 27 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 28 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 29 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 30 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 31 |  | PO |  |  |  | PO | 6 |  | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| AVG | [6 empty] | 6
| MAX | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
| MIN | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0