## Info
Reporting Period: | 1
Treatment Plant: | 2
PWSID: | 3
Operator Signature: | 4
Date: | 5
Unit Number | Operational Data |  |  | Off-Specification Data |  |  | Value No. | Tag Name | Method | Description
| Total Run Time (hours) |  | Total Production (MG) | Number of Off-Specification Events |  | Total Off-Spec Volume (MG) | 1 |  | Calculated | Reporting period calculated based off the date entered in Cell D6 on "January" sheet.
6 | 7 |  | 8 | 9 |  | 10 | 2 |  | Fixed | Treatment plant name is a fixed value.
Total | 11 |  | 12 | 13 |  | 14 | 3 |  | Fixed | PWSID is a fixed value.
[7 empty] | 4 |  | Manual | Operator signature to be manually entered by user.
[7 empty] | 5 |  | Calculated | Date value is calculated as the time when report is generated.
[7 empty] | 6 |  | Fixed | Unit number is a fixed value.
[7 empty] | 7 | [TAG NAME] | Calculated | Sum of daily total run times for the month.
[7 empty] | 8 | [TAG NAME] | Calculated | Sum of daily total productions for the month.
[7 empty] | 9 | [TAG NAME] | Calculated | Sum of off-specification events where off-spec status is "1" for longer than 120 seconds.
Compliance Certification | [6 empty] | 10 | [TAG NAME] | Calculated | Sum of water production during off-specification events lasting longer than 120 seconds.
[7 empty] | 11 |  | Calculated | Sum of total run time of all reactors.
Total Volume of Off-Specification Water Produced (MG) [A] | [5 empty] | 15 | 12 |  | Calculated | Sum of total production of all reactors.
Total Volume of Water Produced (MG) [B] | [5 empty] | 16 | 13 |  | Calculated | Sum of number of off-specification events of all reactors.
Total Off-Specification Water Produced (% of Volume of Water Produced) ([A]/[B]) | [5 empty] | 17 | 14 |  | Calculated | Sum of total off-specification volume of all reactors.
[7 empty] | 15 |  | Calculated | Sum of total off-specification volume of all reactors.
Facility Meets Off-Specification Requirement (<5% of Volume on a Monthly Basis) (Y/N) | [5 empty] | 18 | 16 |  | Calculated | Sum of total production of all reactors.
[7 empty] | 17 |  | Calculated | Sum of total off-specification volume divided by sum of total production of all reactors.
Of the 1 sensors, | 19 | have been checked for calibration and |  | 20 | were within the acceptable range of tolerance. |  | 18 |  | Calculated | Calculation to determine if facility meets off-specification requirements.
[7 empty] | 19 |  | Manual | Operator to manually enter the number of sensors checked for calibration.
[7 empty] | 20 |  | Manual | Operator to manually enter the number of sensors within acceptable range for tolerance.

## Monthly Summary Form
Reporting Period:
Treatment Plant: | Creekside WTP
PWSID: | UT22011
Operator Signature:
Date:
Unit Number | Operational Data |  |  | Off-Specification Data
| Total Run Time (hours) |  | Total Production (MG) | Number of Off-Specification Events |  | Total Off-Spec Volume (MG)
UVR-46011
Total | 0 |  | 0 | 0 |  | 0
Compliance Certification
Total Volume of Off-Specification Water Produced (MG) [A] | [5 empty] | 0
Total Volume of Water Produced (MG) [B] | [5 empty] | 0
Total Off-Specification Water Produced (% of Volume of Water Produced) ([A]/[B]) | [5 empty] | #DIV/0!
Facility Meets Off-Specification Requirement (<5% of Volume on a Monthly Basis) (Y/N) | [5 empty] | #DIV/0!
Of the 1 sensors, |  | have been checked for calibration and |  |  | were within the acceptable range of tolerance.
Note on L22: Zalla, Joseph/SLC: Excel calculated value.
Note on L24: Zalla, Joseph/SLC: Excel calculated value.