## Daily Sewer Flows
Month:
Year:
Metered
Day | Plant Flow (MG) | Plate Settler Flow (MG) | Drain Flow (MG) | Total Daily Flow (MG)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Average | #DIV/0! | #DIV/0! | #DIV/0! | 0
Max | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0

## Report
Quinn's Junction Water Treatment Plant
Snyderville Basin Water Reclamation District Discharge Volume Evaluation
11/2015
Membrane Building Process Flows
Category | Volume/Mo. (gal.) | Measurement Method | Use/Source
Metered - Potable Water
(a) | ENT | 3" potable water meter | Process Discharge (seal water, washdown hose bibbs, etc)
(b) | ENT | Read Monthly | Process Discharge - Membrane Cleaning Process (to water softening for neutralization, chemical scrub, etc) + Process Carrier Water
(c) | 12500 | calculated, fixed monthly vol. | Restrooms, Showers, Mop Sinks, Lab Sink, Water Fountain, Eye Wash, etc.(included in meter (a))
(d) | ENT | irrigation meter | Temporary outdoor Irrigation
Metered and Sampled - Solids Process
(e) | $$$$$='Daily Sewer Flows'!C40 | process solids meter | Process Discharge - Plate Settlers
Unmetered - Direct Discharge to Floor Drains
(f) | $$$$$='Daily Sewer Flows'!G40+'Daily Sewer Flows'!I40+'Daily Sewer Flows'!K40 | calculated, varies monthly | Membrane Rack Washwater (calculated based on measured volume per wash and actual number of washes)
(g) | $$$$$='Daily Sewer Flows'!L40 | calculated, fixed monthly vol. | Process Instrumentation - 8 Turbidity Meters (calculated based on measured volume)
(h) | $$$$$='Daily Sewer Flows'!M40 | calculated, fixed monthly vol. | Process Instrumentation - Raw Inst Flow: 1 ph/temp/turbidity (calculated based on measured volume)
(i) | $$$$$='Daily Sewer Flows'!#REF! | calculated, fixed monthly vol. | Process Instrumentation - POE Inst Flow: 1 ph/temp/CL2 (calculated based on measured volume)
Total
(j) | #VALUE! | (a less b-d plus e thru i) | Volume, all plant water with adjustment for process flow double accounting
(k) | #VALUE! | (j-c-d) | Pre-treatment Discharge Volume adjusted for wastewater and irrigation
Maintenance Building Wastewater Flows
Category | Volume/Mo. (gal.) | Measurement Method | Use/Source
Metered - Discharge to Floor Drains
(l) | 0 | 1" potable water meter | Washdown water (shop floor drain, grease interceptor)
Summary
Pre-treatment User Permit Discharge Basis |  |  | (k) | #VALUE! | gal/mo
Impact Fee Basis |  |  | (j+l) | #VALUE! | gal/mo
Monthly User Fee Basis |  |  | (j+l) | #VALUE! | gal/mo